## Sheet1
List of major equipment in Electrical Enginerring Department Labs
High Voltage Lab (84.10sq.m)
1 | 150 KV Power Transformer with accessories
2 | 550 KV Impulse generator with accessories
3 | 1-Ph. ¼ HP 1425 rpm Motor
4 | Surge Potentiometer 400 pfd 550KV
5 | Impulse Surge Oscilloscope with Cart camera
6 | High Precision Schering Bridge with accessories
7 | 54600B,2-channel,100MHz Oscilloscope with accessories
8 | 15 cm Sphere Gap Assembly with current limiting resistor & grounding rod
9 | 0-15KV Spark Tester
10 | 400 pf, 600KV High Voltage Loading Capacitor with corona ring & movable base
11 | 30 KV AC/40 KV DC High Voltage Test Set with Control Panel, Transformer, Rectifier, filter, resistance divider & Test chamber.
12 | Artificial Rain making Equipment with 12 Nozzle system, pressure distribution chamber, rain gauge, pressure gauge, ½ HP monoblock pump
13 | 140KV DC Set with rectifier, filter & control Panel
14 | 140 KV Resistance Divider
Electrical Measurement Lab (112.27sq.m)
1 | Data logger
2 | Earth tester
3 | Insulation tester
4 | Lux meter
5 | Digital sound level meter
6 | Spectrum Analyser
7 | Schering bridge
8 | Wein’s bridge
9 | Andersons bridge
10 | Strain guage
11 | Double Kelvin bridge
12 | L.V.D.T. and its accessories
13 | Linear motion potentiometer
14 | Optical transducer
15 | PID controller
16 | Compensating circuit
17 | Potentiometer Error Detector
18 | Signal Generator
19 | DC power supplies
20 | C.R.O.’s
Computational Lab (112.27sq.m)
1 | PC- 10nos. IBM make Specifications: 40GB, 128MB, 1.44 FDD, Pentium IV with 14” monitor, keyboard, CD ROM
2 | Software ETAP, Visual Basic
3 | MATLAB with Simulink and Vehicle network Toolbox
Power Electronics Lab (84.27sq.m)
1 | 20 MHz Dual trace CRO
2 | Aplab Power Supply 0-30V
3 | Analog multimeter
4 | Dual track power supply +12V, +- 15 V 2A
5 | Digital LCR meter
6 | Decade Resistance Box
7 | Decade Capacitance Box
8 | UJT & UJT relaxation oscillator
9 | SCR & AC phase control
10 | dv/dt limitation of SCR
11 | TRIAC & AC phase control
12 | SCR Converter & reactive load
13 | Study of forced commutation circuits of SCR
14 | DC shunt motor control using SCR kit
15 | Zero voltage switching
16 | Thyristor time delay relay
17 | Solid state regulated power supply
18 | 300 MHz Digital time and frequency counter
19 | 24 V 500VA Linear Inverter
20 | 24 V 500VA Switching Inverter
21 | SCR controlled invertor 1KVA 48 V
22 | Digital Selected sin/square wave generator
23 | Regulated Power Supply
24 | DC motor speed control using SCR kit
25 | Single phase cycloconverter kit
26 | A.C phase control circuit kit
27 | D.C chopper kit
28 | SCR single phase half wave,full wave fully controlled bridge rectifier kit
29 | SCR triggering circuit kit
30 | Thyristorised speed control of single phase induction motor kit
31 | Jonnes chopper kit
32 | Parallel inverter kit
33 | Power electronic trainer kit
34 | RC triggering circuit kit
35 | Freewheeling diode kit
36 | Series inverter kit
37 | Speed control of A.C. motor kit
38 | Three phase fully controlled convertor kit
39 | Thyristor based phase control kit
40 | SCR based series inverter kit
41 | Single Phase full Wave fully controlled bridge rectifier kit
42 | Digital Storage CRO
Power System Lab (84.27sq.m)
1 | Over current Relay(Inverse)
2 | Percentage Differential Relay
3 | Earth fault Relay
4 | High Speed Impedance Relay
5 | Directional Over current Relay
6 | Solar Cell
7 | Definite Time Reverse Power Relay
8 | X-Y Recorder
9 | AC Network Analyzer
10 | DC Network Analyzer
11 | Transmission Line Model
12 | Analog Computer
Electrical Machines Lab (238.37sq.m)
1 | D.C Shunt Generator 35 KW
2 | 3-Phase Induction Motor 56 HP
3 | Transformer 2KVA, 3-Phase
4 | Transformer, 1-Phase, 2.5 KVA
5 | Amplidyne
6 | D.C. Motor 2 HP Shunt Wound
7 | D.C Motor 2 HP Compound Wound
8 | D.C Generator 2HP Series Wound
9 | D.C. Shunt Motor, 0.6 HP
10 | Variac Transformer 6 KVA/400 V
11 | Synchronous Generator 3 KVA, Power Factor 0.8, 1500 RPM
12 | D.C. Compound Motor 2 K.W.,110 V
13 | D.C Compound Generator 4 HP,220 V
14 | Slip Ring Motor 3-Phase, 4 HP
15 | Variable Auto Transformer, 28 AMP
16 | Universal Motor
17 | 1 HP, 1-Phase Induction Motor
18 | 3 Phase Alternators
19 | A.C. Three Phase slip Ring Motor
20 | Schrage Motor
21 | 30 KVA, 3-Phase Transformer
22 | D.C Series wound Motor , 3.5 HP
23 | D.C Series wound Generator, 3.5 HP
24 | D.C. Motor, 6 HP
25 | Synchronous Generator, 5 KVA
26 | D.C. Generator Shunt Wound, 3 KW
27 | A.C. Synchronous Motor 5 HP
28 | Exciter
29 | Synchronous Converter
30 | Three-Phase Transformer 230/115 V
31 | D.C Shunt Generator 35 KW
32 | 3-Phase Induction Motor 56 HP
33 | Transformer 2KVA, 3-Phase
34 | Transformer, 1-Phase, 2.5 KVA
Applied Electronics/Project Lab (84.27sq.m)
1 | Signal Generator
2 | DC power supplies
3 | C.R.O.’s
4 | Automatic Bench top True RMS multimeter
5 | Digital Lab
6 | Analog Lab
Drives Lab(14.10Sq m)
1 | NI MY RIO with all the compatible sensors
2 | NI MY DAQ
3 | Multisim Software for circuit analysis and design and used in analog circuit lab
4 | Strain gauge-120ohm,350ohm,Bridge Based Strain Measurement with Bonding Agents & Teflon wire with connection
5 | Vision Based Solution UI-1220LE
6 | Pressure Transducer Analog Output &its Accessories
7 | LVDT & its Accessories
8 | Flow sensor Hall effect based and Turbine Based & its Accessories
9 | Torque Transducer+Signal Conditioner&its accessories
10 | Peizo SENSOR &ITS ACCESSORIES
11 | Ambient Light Sensor
12 | Temperature J,K,PT100,Semiconductor Based Sensor+Signal Conditioner & its Accessories
13 | Voltage Sensor & its Accessories
14 | Current Sensor
15 | Joint Angle potentiometer sensor+Signal Conditioner & its Accessories
16 | Load cell S Type & Circular Type
Power Electronics Lab(84.27sqm)
1 | Lab VIEW Full Development System,Windows,English
2 | Lab VIEW Control Design and Simulation Module
3 | NI ELVISH+ Hardware
4 | C+DAQ-9174,Compact DAQ chasis(4 slot USB)
5 | NI 9901 Desktop Mounting Kit
6 | Ni 9862,C series,CAN Interface,High-speed,1Port
7 | NI CAN breakout box 7-Port for CAN,DeviceNet, and CANOpen
8 | NI LabVIEW ARM Microcontroller Teaching Kit
9 | MATLAB with Simulink and Vehicle Network ToolBox
Microprocessor Lab(56.27sqm)
1 | HEX keypad
2 | Musical toner generator with connecting cables
3 | Stepper motor with connecting cables
4 | DAC for ADC and temperature sensor with connecting cables
5 | Logic controller with connecting cables
6 | ESA 85 srivers CD
7 | 8085 kits
8 | USB connecting cables
9 | Dc motor interface
10 | Regulated DC power supply (0.3V)
11 | ESA DC power adapter OV-270 VAC
12 | Stepper motor
Advanced Measurement Lab(56.24sqm)
1 | Multimeter 165
2 | Multimeter 185
3 | Date Logger Unit Software SI 232
4 | Earth Tester GEOHMC ¾ wire
5 | Insulation Tester 5000A
6 | Digital Clamp Meter 1000A TRMS 2025
7 | Digital Clamp Meter DT 2250
8 | LUX Meter LX 101B
9 | Digital Sound Level Meter SL 4010
10 | Spectrum Analyzer Model50142
11 | Dual Trace CRP 20MHZ
12 | Variable D.C.Supply(2A,30V)
13 | DC Power Supply(0-30V),1A,0
14 | +(-)15V/1A
15 | Function Generator 1Mhz
16 | Schering Bridge
17 | Anderson Bridge
18 | Wein Frequency Bridge
19 | Measurment of Linear Displacement by Potentiometer
20 | Measurement of Strain By Strain Cantilever
21 | Industrial Kelvin Bridge
22 | LVDT
Basic Electrical & Electronics Lab(84.27sqm)
1 | Ammeter
2 | Voltmeter
3 | Wattmeter
4 | Variac autotransformer
5 | Single phase transformer
6 | Induction motor
7 | Logic gate kit
8 | Responses of PN junction kit
9 | Multimeter
10 | Ammeter model
11 | Wattmeter model
12 | DC motor
13 | Induction motor 3 phase
14 | KVL kit with 3 bulbs
15 | KCL kit with 3 bulbs
16 | Ohm law kit
17 | Use of multimeter kit
18 | CFLs
19 | Reverse forward switch
20 | BH curve with CRO