Civil Engineering Labs

| Name of Lab | Area, sft |
| --- | --- |
| Survey | 2700 |
| Computational Lab | 900 |
| Road material and Soil Lab | 2550 |
| Structure Lab | 2300 |
| SOM/ Concrete Lab | 4400 |
| Environmental Lab | 750 |
| Heavy Testing Lab | 900 |

Major Equipment in the laboratories (Costing >=Rs. 50,000/-)                               *for demonstration

| S.No | Equipment |  | Purchase |  | Installation Date | Present Condition |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Name | Make | Date | Cost In lac |  | Working | Non-working |
| 1 | Differential GPS | Base-Rover | 11/09/2011 | 5.76 | 12/09/2011 | Working |  |
| 2 | Testing Tank | Fabricated as per design | 22/7/2011 | 1.65 | 31/08/2011 | Working |  |
| 3 | General Purpose Data Logger with advanced communication and USB port | Thermo Fisher Scientific, Australia | 27/01/2011 | 5.58 | 24/03/2011 | Working |  |
| 4 | Rebound hammer (digital) | PROCEQ | 09/03/2010 | 1.50 | 09/03/2010 | Working |  |
| 5 | Data acquisition system along with load cells of various capacities and LVDTs | Peekal Instruments | 12/03/2009 | 7.60 | 12/03/2009 | Working |  |
| 6 | Concrete core cutter | ROTHENBERGER | 05/01/2009 | 3.25 | 05/01/2009 | Working |  |
| 7 | Multipurpose Reaction Frame, 100t | Fabricated as per design | 07/10/2008 | 10.50 | 07/10/2008 | Working |  |
| 8 | Compression Testing Machine (Digital) 200t | HEICO | 19/04/2007 | 2.25 | 19/04/2007 | Working |  |
| 9 | Digital Spectrometer | HACH | 14/09/2007 | 1.95 | 20/11/2007 | Working |  |
| 10 | Total Station | Sokkia | 01/02/2007 | 5.53 | 01/02/2007 | Working |  |
| 11 | Roughometer | HEICO | 10/12/2007 | 1.30 | 10/12/2007 | Working |  |
| 12 | Compression Testing Machine (Digital) 200t | HEICO | 19/04/2007 | 2.25 | 19/04/2007 | Working |  |
| 13 | Triaxial Shear Apparatus | HEICO | 11/11/2006 | 5.70 | 11/11/2006 | Working |  |
| 14 | CBR test apparatus | HEICO | 11/11/2006 | 1.90 | 11/11/2006 | Working |  |
| 15 | Marshall Stability and Benkelman Beam | HEICO | 11/11/2006 | 1.03 | 11/11/2006 | Working |  |
| 16 | BOD Track | Hach | 15/07/2003 | 1.61 | 15/07/2003 | Working |  |
| 17 | Digital balance | Citizen | 15/7/2003 | 0.735 | 15/07/2003 | Working |  |
| 18 | Gas liquid chromatograph | Neter | 31/12/2001 | 1.85 | 31/12/2001 | Working |  |
| 19 | Compression Testing Machine (Digital) | ASI | 14/02/2000 | 2.07 | 18/05/2000 | Working |  |
| 20 | Standard photometer | Aqualytic | 07/09/1999 | 1.991 | 07/09/1999 | Working |  |
| 21 | Digital compression testing machine (40t) | ASI | 20/03/1999 | 3.75 | 30/05/1999 | Working |  |
| 22 | Exhaust NOx Analyzer | Saj Cryton | 1997 | 2.385 | 1997 | Working |  |
| 23 | Atomic Absorption Spectrometer | ECIL | 23/03/1991 | 3.09 | 23/03/1991 | Working* |  |
| 24 | Ultrasonic pulse velocity equipment | PUNDIT | 30/11/1988 | 2.00 | 12/01/1989 | Working |  |
| 25 | Digital Theodolite | Nikon | 31/07/1989 | 1.01 | 31/07/1989 | Working |  |
| 26 | Electronic cyclic loading unit (100t) | HEICO | 08/04/1988 | 2.60 | 10/06/1988 | Working |  |
| 27 | Universal Testing Machine, 100t | Precision | 25/03/1987 | 2.54 | 25/05/1987 | Working |  |

DEPARTMENTAL LIBRARY:

| Numbers available in the department |  |  |  |  |
| --- | --- | --- | --- | --- |
| Books | Journals |  | CD/VCD/ Multimedia | Any other |
|  | National | International |  |  |
| 503 | (03) Indian Geotechnical Journal Institution of Engineers Indian Highways IRC | (58) e-journals (Journals of ASCE and Science Direct) are accessible through DELNET and the main library (Appendix-18) | 20 | Hard copies of Indian Standards in field of Structural engineering (55 no’s) and Geotechnical engineering (77 no’s); conference/seminar proceeding are available. |

Computational/Computer Lab

| Hardware | No of Computers Hardware 32 Intel dual core 2.8 Ghz 512 MB RAM, 160GB.HDD Floppy and optical drive. 17”CRT Monitors 04 Intel dual care 2.8 GHZ, 2GB RAM, 160GB HDD, With Floppy and Optical drive, 17” CRT Monitor. Printer:- Scanner: 01 Printer+Scanner+Copier: - 01 Printer :- 02 Plotter :- 02 Projector:- LCD Projector:-1 |
| --- | --- |
| Software | Drawing & Drafting : Auto Cad 2009- 2nos. Codopia : 35nos. Collab Cad : 04 Q cad : 35nos. (free ware) Blender : Freeware Analysis & Design:- Ansys.12 :- one no. stadd pro :- one no. GT.Strdual :- five No. Strud :- One no. Felt :- 35.no. (freeware) Open Bench :- Freeware. GIS Softwares:- Geomatices:- one no Grass :- Freeware Geotechnical:- 1.Geo 5:- One No. 2.Plaxis-2d :- One no. (under process) P. O placed Operating system :- 1. Linus. (Ubuntu) 2. M.S Windows XP |

| Laboratory | Office Incharge |
| --- | --- |
| Concrete tech. | Kanwarjit Singh Bedi |
| Environmental Engineering | Puneet Pal Singh Cheema |
| Geology | Gurdeepak Singh |
| Soil Mechanics | Kulbir Singh Gill |
| Strength of Material | Kanwarjit Singh Bedi |
| Structural Engineering | Jagbir Singh |
| Survey | Baljit Singh Walia |
| Transportation Engineering | Kulbir Singh Gill |
| Model Lab | Harpreet Kaur Gaba |