**Structural Analysis**

**DE-ADDICTION CENTER**

**AT**

**GOVT. RAJINDRA MEDICAL COLLEGE,PATIALA**

**notes**

**1. Staad Pro programme has been used for analysis &design, the input to the program is reproduced here.**

**2. Foundation design has been designed considering soil data supplied by the client.Net Safe Bearing capacity taken for design is**

**100 KN/m2 at foundation level .**

**3. M-20 concrete has been used as mentioned in the drawing.**

**4. Cold twisted steel must conform to Fe-500 grade of IS: 1786**

**5 All Columns and Beams have been designed by the programme itself as per IS: 456-2000, so no separate calculations are reproduced here.**

**6. Building has been designed for 3 stories i.e.**

**( GF+2 stories above)**

**1.0 Loads**

Self Wt of Slab =0.125x25.00 =3.125 KN/m2

Wt of Filling =0.08x16.00 =1.28 KN/m2

Wt of Flooring =0.04x20.00 =0.80 KN/m2

---------------------

Total =5.21 KN/m2(Say5.5 KN/m2)

----------------------

Live load on floors =3.0 KN/m2

**Toilet**

Self Wt of Slab =0.150x25.00 =3.75 KN/m2

Wt of Filling =0.08x16.00 =1.28 KN/m2

Eq load of partition =4.0 KN/sq m

Wt of Flooring =0.04x20.00 =0.80 KN/m2

---------------------

Total =11.83 KN/m2(Say12 KN/m2)

Live load =2.00 KN/sq m

**2.0 DESIGN OF FOUNDATIONS**

**Foundation F-1**

Design load (Factored) **PU** =1100 K N

Add self = 100KN

-----------

1200KN

Take B.C 100KN/ m2

1200 10

Downward pressure = ------------ + --------------- =96KN/ m2 < 100

1.5x( 2.7X3.15) 1.5(2.7x3.152/6)

Provide 10**/-6//x9/-0//**

Pressure Pu= 1100/ (2.7x3.15) =129.3KN/m2

Mu =129.3x[3.15-0.525]2/8 =111.3 KN .m

Provide **D**=21//

Mu /bd2=111.3x106/1000x(465)2=0.51

**Ast**= 0.12x52.5=6.3cm2(min.)

**Foundation F-2**

Design load (Factored) **PU** =830 K N

Add self = 80KN

-----------

910KN

Take B.C 100KN/ m2

910 15

Downward pressure = ------------ + --------------- =97KN/ m2 < 100

1.5x( 2.7X2.4) 1.5(2.4x2.72/6)

Provide 9**/-0//x8/-0//**

Pressure Pu= 830/ (2.4x2.7) =128.0KN/m2

Mu =128x[2.7-0.525]2/8 =75.7 KN .m

Provide **D**=18//

Mu /bd2=75.7x106/1000x(390)2=0.50

**Ast**= 0.12x45.0=5.4cm2(min.)

**Foundation F-3**

Design load (Factored) **PU** =680 K N

Add self = 70KN

-----------

750KN

Take B.C 100KN/ m2

750 15

Downward pressure = ------------ + --------------- =91KN/ m2 < 100

1.5x( 2.4X2.4) 1.5(2.4x2.42/6)

Provide 8**/-0//x8/-0//**

Pressure Pu= 680/ (2.4x2.4) =118KN/m2

Mu =118x[2.4-0.525]2/8 =51.9KN .m

Provide **D**=18//

Mu /bd2=51.9x106/1000x(390)2=0.35

**Ast**= 0.12x45.0=5.4cm2(min.)

**Foundation F-4**

Design load (Factored) **PU** =580 K N

Add self = 60KN

-----------

640KN

Take B.C 100KN/ m2

640 15

Downward pressure = ------------ + --------------- =95.7KN/ m2 < 100

1.5x( 2.18X2.18) 1.5(2.18x2.182/6)

Provide 7**/-3//x7/-3//**

Pressure Pu= 580/ (2.18x2.18) =122.6KN/m2

Mu =122.6x[2.18-0.525]2/8 =42KN .m

Provide **D**=18//

Mu /bd2=42x106/1000x(390)2=0.28

**Ast**= 0.12x45.0=5.4cm2(min.)

**3.0 Columns**

Design from computer output

**4.0 Plinth beams**

Design from computer output

.

**5.0 Floor beams**

Design from computer output

**6.0 Slab Design Slab**

**S1 (5” thk.)**

lx=3.0 m

ly=6.0 m

ly/lx=2.0 consider it two way t=125mm

M=1.5x8.5x3.0x3.0=115

Moment along short span

-Ve Mux = 0.091x115=10.5 KN.m

+ Ve Mux=0.069x115=8.0 KN.m

Moment along long span

-Ve Mux = 0.047x115=5.4 KN.m

+ Ve Mux=0.035x115=4.0 KN.m

**S2 (6” thk.)-Toilet**

lx=3.37 m

ly=4.5 m

ly/lx=1.34 consider it two way t=150mm

M=1.5x14.0x3.37x3.37=238.5

Moment along short span

-Ve Mux = 0.068x238.5=16.2 KN.m

+ Ve Mux=0.051x238.5=12.2 KN.m

Moment along long span

-Ve Mux = 0.047x238.5=11.2 KN.m

+ Ve Mux=0.035x238.5=8.3 KN.m

**STAIR**

Span 3.3m

Self wt. slab 6” =375 Kg/m2

Self wt. steps=0.25x0.15x2500/(2x0.25)=187 Kg/m2

Self wt finishing=0.4x2500 =100 Kg/m2

Live load =400 Kg/m2

-----------------------------

Total= 1062 Kg/m2

Say 11.0KN/m2

+MU at centre=wxl2/10=1.5x11.0x3.3x3.3/8=22.5KN.m

Take t=6”

Provide12mm@6// c/c

Distribution steel 0.12x15.0x100/100 =1.8cm2

**Landing beam LB-1**

Load on beam =11.0x3.3/2=18.2kN/m

Self wt =5.7kN/m

-------------------

24kN/m

-------------------

MU =1.5x24x3.37x3.37/8=51kN.m

provide 48”x6” beam

MU/bd2=51x1000000/(1200x120x120)=2.95

Ast=0.85x120.0x12.0/100=12.24cm2

**STAAD INPUT FILE**

*STAAD SPACE*

*START JOB INFORMATION*

*ENGINEER DATE 15-Jun-14*

*END JOB INFORMATION*

*INPUT WIDTH 79*

*UNIT METER KN*

*JOINT COORDINATES*

*1 0 0 0; 2 3.38 0 0; 3 6.38 0 0; 4 9.38 0 0; 5 12.38 0 0; 6 15.38 0 0;*

*8 21.38 0 0; 9 25.88 0 0; 10 30.38 0 0; 11 33.38 0 0; 22 30.38 0 3;*

*23 33.38 0 3; 25 0 0 4.5; 47 33.38 0 6; 49 0 0 9; 50 3.38 0 9; 51 6.38 0 9;*

*52 9.38 0 9; 53 12.38 0 9; 54 15.38 0 9; 55 18.38 0 9; 56 21.38 0 9;*

*59 33.38 0 9; 61 0 0 12; 62 3.38 0 12; 63 6.38 0 12; 64 9.38 0 12;*

*65 12.38 0 12; 66 15.38 0 12; 67 18.38 0 12; 68 21.38 0 12; 101 24.38 0 9;*

*103 24.38 0 12; 105 27.38 0 12; 107 0 1.5 0; 108 3.38 1.5 0; 109 6.38 1.5 0;*

*110 9.38 1.5 0; 111 12.38 1.5 0; 112 15.38 1.5 0; 114 21.38 1.5 0;*

*115 25.88 1.5 0; 116 30.38 1.5 0; 117 33.38 1.5 0; 119 30.38 1.5 3;*

*120 33.38 1.5 3; 122 0 1.5 4.5; 128 18.38 1.5 4.5; 130 30.38 1.5 6;*

*131 33.38 1.5 6; 133 0 1.5 9; 134 3.38 1.5 9; 135 6.38 1.5 9; 136 9.38 1.5 9;*

*137 12.38 1.5 9; 138 15.38 1.5 9; 139 18.38 1.5 9; 140 21.38 1.5 9;*

*142 33.38 1.5 9; 144 0 1.5 12; 145 3.38 1.5 12; 146 6.38 1.5 12;*

*147 9.38 1.5 12; 148 12.38 1.5 12; 149 15.38 1.5 12; 150 18.38 1.5 12;*

*151 21.38 1.5 12; 153 33.38 1.5 12; 168 24.38 1.5 4.5; 169 25.88 1.5 6;*

*170 24.38 1.5 0; 171 24.38 1.5 6; 172 24.38 1.5 9; 173 24.38 1.5 3;*

*174 24.38 1.5 12; 176 27.38 1.5 12; 178 0 5.1 0; 179 3.38 5.1 0;*

*180 6.38 5.1 0; 181 9.38 5.1 0; 182 12.38 5.1 0; 183 15.38 5.1 0;*

*185 21.38 5.1 0; 186 25.88 5.1 0; 187 30.38 5.1 0; 188 33.38 5.1 0;*

*190 30.38 5.1 3; 191 33.38 5.1 3; 193 0 5.1 4.5; 194 3.38 5.1 4.5;*

*195 6.38 5.1 4.5; 196 9.38 5.1 4.5; 197 12.38 5.1 4.5; 198 15.38 5.1 4.5;*

*199 18.38 5.1 4.5; 200 21.38 5.1 4.5; 201 30.38 5.1 6; 202 33.38 5.1 6;*

*204 0 5.1 9; 205 3.38 5.1 9; 206 6.38 5.1 9; 207 9.38 5.1 9; 208 12.38 5.1 9;*

*209 15.38 5.1 9; 210 18.38 5.1 9; 211 21.38 5.1 9; 212 30.38 5.1 9;*

*213 33.38 5.1 9; 215 0 5.1 12; 216 3.38 5.1 12; 217 6.38 5.1 12;*

*218 9.38 5.1 12; 219 12.38 5.1 12; 220 15.38 5.1 12; 221 18.38 5.1 12;*

*222 21.38 5.1 12; 223 30.38 5.1 12; 224 33.38 5.1 12; 226 33.38 5.1 15;*

*239 24.38 5.1 4.5; 240 25.88 5.1 6; 241 24.38 5.1 0; 242 24.38 5.1 6;*

*243 24.38 5.1 9; 244 24.38 5.1 3; 245 24.38 5.1 12; 247 27.38 5.1 12;*

*249 0 8.7 0; 250 3.38 8.7 0; 251 6.38 8.7 0; 252 9.38 8.7 0; 253 12.38 8.7 0;*

*254 15.38 8.7 0; 256 21.38 8.7 0; 257 25.88 8.7 0; 258 30.38 8.7 0;*

*259 33.38 8.7 0; 261 30.38 8.7 3; 262 33.38 8.7 3; 264 0 8.7 4.5;*

*266 6.38 8.7 4.5; 268 12.38 8.7 4.5; 270 18.38 8.7 4.5; 272 30.38 8.7 6;*

*273 33.38 8.7 6; 275 0 8.7 9; 276 3.38 8.7 9; 277 6.38 8.7 9; 278 9.38 8.7 9;*

*279 12.38 8.7 9; 280 15.38 8.7 9; 281 18.38 8.7 9; 282 21.38 8.7 9;*

*283 30.38 8.7 9; 284 33.38 8.7 9; 286 0 8.7 12; 287 3.38 8.7 12;*

*288 6.38 8.7 12; 289 9.38 8.7 12; 290 12.38 8.7 12; 291 15.38 8.7 12;*

*292 18.38 8.7 12; 293 21.38 8.7 12; 295 33.38 8.7 12; 310 24.38 8.7 4.5;*

*313 24.38 8.7 6; 314 24.38 8.7 9; 316 24.38 8.7 12; 318 27.38 8.7 12;*

*324 21.38 5.1 3; 325 18.38 5.1 3; 326 27.38 5.1 9; 327 27.38 5.1 6;*

*328 36.38 5.1 6; 329 36.38 5.1 3; 334 33.38 0 12; 340 30.38 0 9;*

*341 30.38 1.5 9; 343 33.38 5.1 16.5; 344 27.38 5.1 16.5; 345 3.38 8.7 4.5;*

*346 9.38 8.7 4.5; 347 15.38 8.7 4.5; 348 21.38 8.7 4.5; 349 30.38 8.7 12;*

*350 33.38 8.7 15; 351 25.88 8.7 6; 352 24.38 8.7 0; 353 24.38 8.7 3;*

*354 21.38 8.7 3; 355 18.38 8.7 3; 356 27.38 8.7 9; 357 27.38 8.7 6;*

*358 36.38 8.7 6; 359 36.38 8.7 3; 361 33.38 8.7 16.5; 362 27.38 8.7 16.5;*

*363 0 12.3 0; 364 3.38 12.3 0; 365 6.38 12.3 0; 366 9.38 12.3 0;*

*367 12.38 12.3 0; 368 15.38 12.3 0; 370 21.38 12.3 0; 371 25.88 12.3 0;*

*372 30.38 12.3 0; 373 33.38 12.3 0; 375 30.38 12.3 3; 376 33.38 12.3 3;*

*378 0 12.3 4.5; 379 6.38 12.3 4.5; 380 12.38 12.3 4.5; 381 18.38 12.3 4.5;*

*382 30.38 12.3 6; 383 33.38 12.3 6; 385 0 12.3 9; 386 3.38 12.3 9;*

*387 6.38 12.3 9; 388 9.38 12.3 9; 389 12.38 12.3 9; 390 15.38 12.3 9;*

*391 18.38 12.3 9; 392 21.38 12.3 9; 393 30.38 12.3 9; 394 33.38 12.3 9;*

*396 0 12.3 12; 397 3.38 12.3 12; 398 6.38 12.3 12; 399 9.38 12.3 12;*

*400 12.38 12.3 12; 401 15.38 12.3 12; 402 18.38 12.3 12; 403 21.38 12.3 12;*

*404 33.38 12.3 12; 417 24.38 12.3 4.5; 418 24.38 12.3 6; 419 24.38 12.3 9;*

*420 24.38 12.3 12; 422 27.38 12.3 12; 425 3.38 12.3 4.5; 426 9.38 12.3 4.5;*

*427 15.38 12.3 4.5; 428 21.38 12.3 4.5; 429 30.38 12.3 12; 430 33.38 12.3 15;*

*431 25.88 12.3 6; 432 24.38 12.3 0; 433 24.38 12.3 3; 434 21.38 12.3 3;*

*435 18.38 12.3 3; 436 27.38 12.3 9; 437 27.38 12.3 6; 438 36.38 12.3 6;*

*439 36.38 12.3 3; 441 33.38 12.3 16.5; 442 27.38 12.3 16.5; 445 0 15.6 12;*

*446 3.38 15.6 12; 454 3.38 0 4.5; 455 3.38 1.5 4.5; 456 9.38 0 4.5;*

*457 9.38 1.5 4.5; 458 15.38 0 4.5; 459 15.38 1.5 4.5; 460 18.38 0 3;*

*461 18.38 1.5 3; 462 21.38 0 3; 463 21.38 1.5 3; 464 15.38 1.5 3;*

*465 21.38 1.5 4.5; 466 25.88 1.5 9; 467 0 0 16.5; 468 3.38 0 16.5;*

*469 6.38 0 16.5; 470 9.38 0 16.5; 471 12.38 0 16.5; 472 15.38 0 16.5;*

*473 18.38 0 16.5; 474 21.38 0 16.5; 475 33.38 0 16.5; 477 24.38 0 16.5;*

*478 27.38 0 16.5; 479 0 1.5 16.5; 480 3.38 1.5 16.5; 481 6.38 1.5 16.5;*

*482 9.38 1.5 16.5; 483 12.38 1.5 16.5; 484 15.38 1.5 16.5; 485 18.38 1.5 16.5;*

*486 21.38 1.5 16.5; 488 33.38 1.5 16.5; 490 24.38 1.5 16.5; 491 27.38 1.5 16.5;*

*492 0 5.1 16.5; 493 3.38 5.1 16.5; 494 6.38 5.1 16.5; 495 9.38 5.1 16.5;*

*496 12.38 5.1 16.5; 497 15.38 5.1 16.5; 498 18.38 5.1 16.5; 499 21.38 5.1 16.5;*

*501 24.38 5.1 16.5; 502 0 8.7 16.5; 503 3.38 8.7 16.5; 504 6.38 8.7 16.5;*

*505 9.38 8.7 16.5; 506 12.38 8.7 16.5; 507 15.38 8.7 16.5; 508 18.38 8.7 16.5;*

*509 21.38 8.7 16.5; 511 24.38 8.7 16.5; 512 36.38 1.5 16.5; 513 36.38 5.1 16.5;*

*514 36.38 8.7 16.5; 515 0 12.3 16.5; 516 3.38 12.3 16.5; 517 6.38 12.3 16.5;*

*518 9.38 12.3 16.5; 519 12.38 12.3 16.5; 520 15.38 12.3 16.5;*

*521 18.38 12.3 16.5; 522 21.38 12.3 16.5; 524 24.38 12.3 16.5;*

*525 36.38 12.3 16.5; 526 0 15.6 16.5; 527 3.38 15.6 16.5; 528 30.38 1.5 12;*

*529 15.38 5.1 3; 530 24.38 0 3; 531 30.38 5.1 16; 532 33.38 5.1 16;*

*533 27.38 5.1 16; 534 30.38 8.7 16; 535 33.38 8.7 16; 536 27.38 8.7 16;*

*537 15.38 8.7 3; 538 37.98 0 0; 539 37.98 0 3; 540 37.98 0 6; 541 37.98 0 9;*

*542 37.98 0 12; 543 37.98 1.5 0; 544 37.98 1.5 3; 545 37.98 1.5 6;*

*546 37.98 1.5 9; 547 37.98 1.5 12; 548 37.98 1.5 15; 549 37.98 5.1 0;*

*550 37.98 5.1 3; 551 37.98 5.1 6; 552 37.98 5.1 9; 553 37.98 5.1 12;*

*554 37.98 5.1 15; 555 37.98 8.7 0; 556 37.98 8.7 3; 557 37.98 8.7 6;*

*558 37.98 8.7 9; 559 37.98 8.7 12; 560 37.98 8.7 15; 561 37.98 12.3 0;*

*562 37.98 12.3 3; 563 37.98 12.3 6; 564 37.98 12.3 9; 565 37.98 12.3 12;*

*566 37.98 12.3 15; 567 37.98 0 16.5; 568 37.98 1.5 16.5; 569 37.98 5.1 16.5;*

*570 37.98 8.7 16.5; 571 37.98 12.3 16.5; 572 35.68 5.1 6; 573 35.68 5.1 3;*

*574 35.68 8.7 6; 575 35.68 8.7 3; 576 35.68 12.3 6; 577 35.68 12.3 3;*

*578 30.38 12.3 16; 579 33.38 12.3 16; 580 27.38 12.3 16; 581 15.38 12.3 3;*

*582 33.38 15.3 9; 583 33.38 15.3 12; 584 37.98 15.3 9; 585 37.98 15.3 12;*

*586 30.38 1.5 16.5; 587 25.88 1.5 3; 588 27.38 1.5 9;*

*MEMBER INCIDENCES*

*120 1 107; 121 2 108; 122 3 109; 123 4 110; 124 5 111; 125 6 112; 127 8 114;*

*128 9 115; 129 10 116; 130 11 117; 132 22 119; 133 23 120; 135 25 122;*

*144 47 131; 146 49 133; 147 50 134; 148 51 135; 149 52 136; 150 53 137;*

*151 54 138; 152 55 139; 153 56 140; 155 59 142; 157 61 144; 158 62 145;*

*159 63 146; 160 64 147; 161 65 148; 162 66 149; 163 67 150; 164 68 151;*

*185 101 172; 187 103 174; 189 105 176; 191 107 108; 192 108 109; 193 109 110;*

*194 110 111; 195 111 112; 198 114 170; 199 115 116; 200 116 117; 201 117 543;*

*202 107 122; 210 116 119; 211 117 120; 221 170 115; 222 170 173; 223 122 133;*

*229 128 139; 231 168 171; 232 171 172; 233 171 169; 234 169 130; 235 119 130;*

*237 131 545; 238 120 131; 240 120 544; 241 173 168; 243 133 134; 244 134 135;*

*245 135 136; 246 136 137; 247 137 138; 248 138 139; 249 139 140; 250 140 172;*

*251 133 144; 252 144 479; 254 145 480; 256 146 481; 258 147 482; 260 148 483;*

*262 149 484; 264 150 485; 266 151 486; 268 174 490; 271 142 546; 276 144 145;*

*277 145 146; 278 146 147; 279 147 148; 280 148 149; 281 149 150; 282 150 151;*

*283 151 174; 292 174 176; 295 131 142; 302 176 491; 308 107 178; 309 108 179;*

*310 109 180; 311 110 181; 312 111 182; 313 112 183; 315 114 185; 316 115 186;*

*317 116 187; 318 117 188; 320 119 190; 321 120 191; 323 122 193; 332 131 202;*

*334 133 204; 335 134 205; 336 135 206; 337 136 207; 338 137 208; 339 138 209;*

*340 139 210; 341 140 211; 343 142 213; 345 144 215; 346 145 216; 347 146 217;*

*348 147 218; 349 148 219; 350 149 220; 351 150 221; 352 151 222; 373 172 243;*

*375 174 245; 377 176 247; 379 178 179; 380 179 180; 381 180 181; 382 181 182;*

*383 182 183; 386 185 241; 387 186 187; 388 187 188; 389 188 549; 390 178 193;*

*391 179 194; 392 180 195; 393 181 196; 394 182 197; 395 183 529; 398 187 190;*

*399 188 191; 401 193 194; 402 194 195; 403 195 196; 404 196 197; 405 197 198;*

*409 241 186; 410 241 244; 411 193 204; 412 194 205; 413 195 206; 414 196 207;*

*415 197 208; 416 198 209; 417 199 210; 418 200 211; 419 239 242; 420 242 243;*

*421 242 240; 422 240 327; 423 190 201; 424 201 202; 425 202 572; 426 191 202;*

*428 191 573; 429 244 239; 430 244 190; 431 204 205; 432 205 206; 433 206 207;*

*434 207 208; 435 208 209; 436 209 210; 437 210 211; 438 211 243; 439 204 215;*

*440 215 492; 441 205 216; 442 216 493; 443 206 217; 444 217 494; 445 207 218;*

*446 218 495; 447 208 219; 448 219 496; 449 209 220; 450 220 497; 451 210 221;*

*452 221 498; 453 211 222; 454 222 499; 455 243 245; 456 245 501; 457 243 326;*

*458 212 213; 459 213 552; 464 215 216; 465 216 217; 466 217 218; 467 218 219;*

*468 219 220; 469 220 221; 470 221 222; 471 222 245; 480 245 247; 481 247 223;*

*482 223 224; 483 202 213; 484 213 224; 485 224 226; 486 226 532; 490 247 533;*

*491 223 531; 493 226 554; 494 201 212; 496 178 249; 497 179 250; 498 180 251;*

*499 181 252; 500 182 253; 501 183 254; 503 185 256; 504 186 257; 505 187 258;*

*506 188 259; 508 190 261; 509 191 262; 511 193 264; 520 202 273; 522 204 275;*

*523 205 276; 524 206 277; 525 207 278; 526 208 279; 527 209 280; 528 210 281;*

*529 211 282; 531 213 284; 533 215 286; 534 216 287; 535 217 288; 536 218 289;*

*537 219 290; 538 220 291; 539 221 292; 540 222 293; 561 243 314; 563 245 316;*

*565 247 318; 685 190 191; 696 325 199; 697 325 324; 698 324 244; 699 326 212;*

*700 327 201; 703 328 551; 704 329 550; 705 573 572; 714 334 153; 715 153 224;*

*716 224 295; 729 340 341; 730 341 212; 731 212 283; 732 224 553; 738 249 250;*

*739 250 251; 740 251 252; 741 252 253; 742 253 254; 744 256 352; 745 257 258;*

*746 258 259; 747 259 555; 748 249 264; 749 250 345; 750 251 266; 751 252 346;*

*752 253 268; 753 254 537; 755 258 261; 756 259 262; 758 264 345; 759 345 266;*

*760 266 346; 761 346 268; 762 268 347; 766 352 257; 767 352 353; 768 264 275;*

*769 345 276; 770 266 277; 771 346 278; 772 268 279; 773 347 280; 774 270 281;*

*775 348 282; 776 310 313; 777 313 314; 778 313 351; 779 351 357; 780 261 272;*

*781 272 273; 782 273 574; 783 262 273; 785 262 575; 786 353 310; 787 353 261;*

*788 275 276; 789 276 277; 790 277 278; 791 278 279; 792 279 280; 793 280 281;*

*794 281 282; 795 282 314; 796 275 286; 797 286 502; 798 276 287; 799 287 503;*

*800 277 288; 801 288 504; 802 278 289; 803 289 505; 804 279 290; 805 290 506;*

*806 280 291; 807 291 507; 808 281 292; 809 292 508; 810 282 293; 811 293 509;*

*812 314 316; 813 316 511; 814 314 356; 815 283 284; 816 284 558; 821 286 287;*

*822 287 288; 823 288 289; 824 289 290; 825 290 291; 826 291 292; 827 292 293;*

*828 293 316; 837 316 318; 838 318 349; 839 349 295; 840 273 284; 841 284 295;*

*842 295 350; 843 350 535; 845 318 536; 846 349 534; 848 350 560; 849 272 283;*

*851 261 262; 852 355 270; 853 355 354; 854 354 353; 855 356 283; 856 357 272;*

*859 358 557; 860 359 556; 861 575 574; 863 295 559; 868 249 363; 869 250 364;*

*870 251 365; 871 252 366; 872 253 367; 873 254 368; 875 256 370; 876 257 371;*

*877 258 372; 878 259 373; 880 261 375; 881 262 376; 883 264 378; 887 273 383;*

*889 275 385; 890 276 386; 891 277 387; 892 278 388; 893 279 389; 894 280 390;*

*895 281 391; 896 282 392; 897 284 394; 899 286 396; 900 287 397; 901 288 398;*

*902 289 399; 903 290 400; 904 291 401; 905 292 402; 906 293 403; 920 314 419;*

*921 316 420; 923 318 422; 926 295 404; 929 283 393; 930 363 364; 931 364 365;*

*932 365 366; 933 366 367; 934 367 368; 936 370 432; 937 371 372; 938 372 373;*

*939 373 561; 940 363 378; 941 364 425; 942 365 379; 943 366 426; 944 367 380;*

*945 368 581; 947 372 375; 948 373 376; 950 378 425; 951 425 379; 952 379 426;*

*953 426 380; 954 380 427; 958 432 371; 959 432 433; 960 378 385; 961 425 386;*

*962 379 387; 963 426 388; 964 380 389; 965 427 390; 966 381 391; 967 428 392;*

*968 417 418; 969 418 419; 970 418 431; 971 431 437; 972 375 382; 973 382 383;*

*974 383 576; 975 376 383; 977 376 577; 978 433 417; 979 433 375; 980 385 386;*

*981 386 387; 982 387 388; 983 388 389; 984 389 390; 985 390 391; 986 391 392;*

*987 392 419; 988 385 396; 989 396 515; 990 386 397; 991 397 516; 992 387 398;*

*993 398 517; 994 388 399; 995 399 518; 996 389 400; 997 400 519; 998 390 401;*

*999 401 520; 1000 391 402; 1001 402 521; 1002 392 403; 1003 403 522;*

*1004 419 420; 1005 420 524; 1006 419 436; 1007 393 394; 1008 394 564;*

*1013 396 397; 1014 397 398; 1015 398 399; 1016 399 400; 1017 400 401;*

*1018 401 402; 1019 402 403; 1020 403 420; 1029 420 422; 1030 422 429;*

*1031 429 404; 1032 383 394; 1033 394 404; 1034 404 430; 1035 430 579;*

*1037 422 580; 1038 429 578; 1040 430 566; 1041 382 393; 1043 375 376;*

*1044 435 381; 1045 435 434; 1046 434 433; 1047 436 393; 1048 437 382;*

*1051 438 563; 1052 439 562; 1053 577 576; 1055 404 565; 1062 396 445;*

*1063 397 446; 1074 445 526; 1075 446 527; 1077 445 446; 1082 454 455;*

*1083 455 194; 1084 194 345; 1085 345 425; 1086 456 457; 1087 457 196;*

*1088 196 346; 1089 346 426; 1090 458 459; 1091 459 198; 1092 198 347;*

*1093 347 427; 1094 461 128; 1095 460 461; 1096 461 325; 1097 325 355;*

*1098 355 435; 1099 462 463; 1100 463 324; 1101 324 354; 1102 354 434;*

*1103 108 455; 1104 455 134; 1105 110 457; 1106 457 136; 1107 112 464;*

*1108 459 138; 1109 464 459; 1110 464 461; 1111 465 140; 1112 463 465;*

*1113 461 463; 1114 463 173; 1115 153 488; 1116 142 153; 1117 130 341;*

*1118 172 466; 1119 466 588; 1164 467 479; 1165 468 480; 1166 469 481;*

*1167 470 482; 1168 471 483; 1169 472 484; 1170 473 485; 1171 474 486;*

*1172 475 488; 1174 477 490; 1175 478 491; 1176 479 480; 1177 480 481;*

*1178 481 482; 1179 482 483; 1180 483 484; 1181 484 485; 1182 485 486;*

*1183 486 490; 1184 490 491; 1187 488 512; 1188 479 492; 1189 480 493;*

*1190 481 494; 1191 482 495; 1192 483 496; 1193 484 497; 1194 485 498;*

*1195 486 499; 1196 488 343; 1198 490 501; 1199 491 344; 1200 492 493;*

*1201 493 494; 1202 494 495; 1203 495 496; 1204 496 497; 1205 497 498;*

*1206 498 499; 1207 499 501; 1208 501 344; 1209 343 513; 1210 492 502;*

*1211 493 503; 1212 494 504; 1213 495 505; 1214 496 506; 1215 497 507;*

*1216 498 508; 1217 499 509; 1218 343 361; 1220 501 511; 1221 344 362;*

*1222 512 568; 1223 513 569; 1224 502 503; 1225 503 504; 1226 504 505;*

*1227 505 506; 1228 506 507; 1229 507 508; 1230 508 509; 1231 509 511;*

*1232 511 362; 1233 361 514; 1234 514 570; 1235 502 515; 1236 503 516;*

*1237 504 517; 1238 505 518; 1239 506 519; 1240 507 520; 1241 508 521;*

*1242 509 522; 1243 361 441; 1245 511 524; 1246 362 442; 1247 515 516;*

*1248 516 517; 1249 517 518; 1250 518 519; 1251 519 520; 1252 520 521;*

*1253 521 522; 1254 522 524; 1255 524 442; 1256 441 525; 1257 525 571;*

*1258 515 526; 1259 516 527; 1260 526 527; 1261 176 528; 1262 528 153;*

*1263 529 198; 1264 529 325; 1265 324 200; 1266 530 173; 1267 173 244;*

*1268 244 353; 1269 353 433; 1273 532 343; 1274 533 344; 1275 533 531;*

*1276 531 532; 1280 535 361; 1281 536 362; 1282 536 534; 1283 534 535;*

*1284 537 347; 1285 537 355; 1286 354 348; 1313 538 543; 1314 539 544;*

*1315 540 545; 1316 541 546; 1317 542 547; 1318 543 544; 1319 544 545;*

*1320 545 546; 1321 546 547; 1322 547 548; 1323 548 568; 1324 543 549;*

*1325 544 550; 1326 545 551; 1327 546 552; 1328 547 553; 1329 549 550;*

*1330 550 551; 1331 551 552; 1332 552 553; 1333 553 554; 1334 554 569;*

*1335 549 555; 1336 550 556; 1337 551 557; 1338 552 558; 1339 553 559;*

*1340 555 556; 1341 556 557; 1342 557 558; 1343 558 559; 1344 559 560;*

*1345 560 570; 1346 555 561; 1347 556 562; 1348 557 563; 1349 558 564;*

*1350 559 565; 1351 561 562; 1352 562 563; 1353 563 564; 1354 564 565;*

*1355 565 566; 1356 566 571; 1357 567 568; 1358 568 569; 1359 569 570;*

*1360 570 571; 1361 572 328; 1362 573 329; 1363 574 358; 1364 575 359;*

*1365 576 438; 1366 577 439; 1370 579 441; 1371 580 442; 1372 580 578;*

*1373 578 579; 1374 581 427; 1375 581 435; 1376 434 428; 1377 394 582;*

*1378 404 583; 1379 564 584; 1380 565 585; 1381 582 584; 1382 582 583;*

*1383 583 585; 1384 584 585; 1385 341 142; 1386 491 586; 1387 586 488;*

*1388 173 587; 1389 587 119; 1390 134 145; 1391 135 146; 1392 136 147;*

*1393 137 148; 1394 138 149; 1395 139 150; 1396 140 151; 1397 172 174;*

*1398 588 341; 1399 588 176; 1400 326 247; 1401 356 318; 1402 436 422;*

*DEFINE MATERIAL START*

*ISOTROPIC CONCRETE*

*E 2.17185e+007*

*POISSON 0.17*

*DENSITY 23.5616*

*ALPHA 1e-005*

*DAMP 0.05*

*END DEFINE MATERIAL*

*MEMBER PROPERTY INDIAN*

*120 TO 125 135 146 TO 153 157 TO 164 185 187 189 308 TO 313 323 334 TO 341 -*

*345 TO 352 373 375 377 496 TO 501 511 522 TO 529 533 TO 540 561 563 565 868 -*

*869 TO 873 883 889 TO 896 899 TO 906 920 921 923 1062 1063 1082 TO 1093 1095 -*

*1096 TO 1102 1164 TO 1172 1174 1175 1188 TO 1196 1198 1199 1210 TO 1218 1220 -*

*1221 1235 TO 1243 1245 1246 1258 1259 1266 TO 1269 PRIS YD 0.3 ZD 0.525*

*MEMBER PROPERTY INDIAN*

*127 TO 130 132 133 144 155 315 TO 318 320 321 332 343 503 TO 506 508 509 520 -*

*531 714 TO 716 729 TO 731 875 TO 878 880 881 887 897 926 929 1313 TO 1317 -*

*1324 TO 1328 1335 TO 1339 1346 TO 1350 1357 TO 1360 1377 TO 1379 -*

*1380 PRIS YD 0.525 ZD 0.3*

*198 TO 202 210 211 221 TO 223 229 231 TO 235 237 238 240 241 251 252 254 256 -*

*258 260 262 264 266 268 271 295 302 1094 1103 TO 1109 1111 1112 1115 TO 1119 -*

*1187 1222 1261 1262 1318 TO 1323 1385 1388 TO 1399 PRIS YD 0.375 ZD 0.3*

*191 TO 195 243 TO 250 276 TO 283 292 1110 1113 1114 1176 TO 1184 1386 -*

*1387 PRIS YD 0.3 ZD 0.3*

*392 TO 395 398 399 401 TO 405 413 TO 418 421 422 424 TO 426 428 430 -*

*443 TO 459 481 TO 484 491 493 685 696 699 700 703 TO 705 732 750 TO 753 755 -*

*756 758 TO 762 767 770 TO 775 778 779 781 TO 783 785 787 800 TO 816 -*

*838 TO 841 846 848 851 852 855 856 859 TO 861 863 941 TO 945 947 948 950 -*

*951 TO 954 959 961 TO 975 977 TO 979 990 TO 1008 1030 TO 1033 1038 1040 1041 -*

*1043 1044 1047 1048 1051 TO 1053 1055 1074 1075 1263 1265 1284 1286 1361 -*

*1362 TO 1366 1374 1376 1381 TO 1383 1400 TO 1402 PRIS YD 0.425 ZD 0.3*

*379 TO 383 431 TO 438 464 TO 471 480 697 698 738 TO 742 788 TO 795 -*

*821 TO 828 837 853 854 930 TO 934 980 TO 987 1013 TO 1020 1029 1045 1046 -*

*1077 1200 TO 1209 1223 TO 1234 1247 TO 1257 1260 1264 1285 -*

*1375 PRIS YD 0.275 ZD 0.23*

*MEMBER PROPERTY INDIAN*

*386 TO 391 409 TO 412 439 TO 442 485 486 490 744 TO 749 766 768 769 -*

*796 TO 799 842 843 845 936 TO 940 958 960 988 989 1034 1035 1037 -*

*1273 TO 1276 1280 TO 1283 1329 TO 1334 1340 TO 1345 1351 TO 1356 -*

*1370 TO 1373 1384 PRIS YD 0.425 ZD 0.23*

*MEMBER PROPERTY INDIAN*

*419 420 423 429 494 776 777 780 786 849 PRIS YD 0.575 ZD 0.3*

*CONSTANTS*

*MATERIAL CONCRETE ALL*

*SUPPORTS*

*1 TO 6 8 TO 11 22 23 25 47 49 TO 56 59 61 TO 68 101 103 105 334 340 454 456 -*

*458 460 462 467 TO 475 477 478 530 538 TO 542 567 FIXED*

*DEFINE 1893 LOAD*

*ZONE 0.16 RF 3 I 1 SS 1 DM 0.05*

*SELFWEIGHT 1*

*MEMBER WEIGHT*

*191 TO 195 199 TO 201 251 379 TO 383 386 TO 389 409 697 698 738 TO 742 745 -*

*746 TO 747 853 854 1176 TO 1184 1187 1200 TO 1209 1222 TO 1234 1247 1264 1275 -*

*1276 1282 1283 1285 1318 TO 1323 1329 TO 1334 1340 TO 1345 1354 1390 TO 1397 -*

*1399 UNI 10*

*198 202 221 223 252 254 271 386 390 395 409 411 439 440 442 459 744 748 753 -*

*766 768 796 797 799 816 989 991 1008 1055 1103 1104 1107 1109 1263 -*

*1284 UNI 14*

*210 211 222 229 231 TO 235 237 238 240 241 243 TO 250 256 258 260 262 264 -*

*266 268 277 TO 283 292 295 302 391 393 398 399 401 410 412 414 416 -*

*419 TO 423 425 426 428 429 431 TO 438 444 446 448 450 452 457 459 -*

*466 TO 471 480 483 485 486 490 494 699 700 703 704 749 751 755 756 758 767 -*

*769 771 773 776 TO 780 782 783 785 786 788 TO 795 801 803 805 807 809 814 -*

*823 TO 828 837 840 TO 843 845 849 855 856 859 860 1094 1105 1106 1108 1110 -*

*1113 TO 1115 1117 1273 1280 1281 1361 TO 1364 1388 1389 UNI 7*

*930 TO 934 937 TO 940 945 958 TO 960 988 989 1045 1046 1248 TO 1257 -*

*1351 TO 1353 1355 1356 1370 TO 1373 1375 UNI 3*

*386 TO 389 409 744 TO 747 766 UNI 12.75*

*936 TO 939 958 UNI 10.5*

*FLOOR WEIGHT*

*YRANGE 4.9 5.3 FLOAD 5.5*

*YRANGE 8.5 8.9 FLOAD 5.5*

*YRANGE 4.9 5.3 FLOAD 4 XRANGE -0.5 3.6 ZRANGE -0.5 9.5*

*YRANGE 8.5 8.9 FLOAD 4 XRANGE -0.5 3.6 ZRANGE -0.5 9.5*

*YRANGE 4.9 5.3 FLOAD 4 XRANGE 3.2 6.5 ZRANGE 11.5 17*

*YRANGE 8.5 8.9 FLOAD 4 XRANGE 3.2 6.5 ZRANGE 11.5 17*

*YRANGE 4.9 5.3 FLOAD 4 XRANGE 12.2 15.5 ZRANGE 11.5 17*

*YRANGE 8.5 8.9 FLOAD 4 XRANGE 12.2 15.6 ZRANGE 11.5 17*

*YRANGE 4.9 5.3 FLOAD 4 XRANGE 33.1 39.5 ZRANGE 2.5 6.5*

*YRANGE 8.5 8.9 FLOAD 4 XRANGE 33.1 39.5 ZRANGE 2.5 6.5*

*YRANGE 4.9 5.3 FLOAD 3*

*YRANGE 8.5 8.9 FLOAD 3*

*YRANGE 12.2 12.4 FLOAD 1.5*

*LOAD 1 LOAD TYPE EQX*

*1893 LOAD X 1*

*LOAD 2 LOAD TYPE EQZ*

*1893 LOAD Z 1*

*LOAD 3 LOADTYPE Dead TITLE DEAD LOAD*

*SELFWEIGHT Y -1 LIST 120 TO 125 127 TO 130 132 133 135 144 146 TO 153 155 -*

*157 TO 164 185 187 189 191 TO 195 198 TO 202 210 211 221 TO 223 229 -*

*231 TO 235 237 238 240 241 243 TO 252 254 256 258 260 262 264 266 268 271 -*

*276 TO 283 292 295 302 308 TO 313 315 TO 318 320 321 323 332 334 TO 341 343 -*

*345 TO 352 373 375 377 379 TO 383 386 TO 395 398 399 401 TO 405 409 TO 426 -*

*428 TO 459 464 TO 471 480 TO 486 490 491 493 494 496 TO 501 503 TO 506 508 -*

*509 511 520 522 TO 529 531 533 TO 540 561 563 565 685 696 TO 700 703 TO 705 -*

*714 TO 716 729 TO 732 738 TO 742 744 TO 753 755 756 758 TO 762 766 TO 783 -*

*785 TO 816 821 TO 828 837 TO 843 845 846 848 849 851 TO 856 859 TO 861 863 -*

*868 TO 873 875 TO 878 880 881 883 887 889 TO 897 899 TO 906 920 921 923 926 -*

*929 TO 934 936 TO 945 947 948 950 TO 954 958 TO 975 977 TO 1008 1013 TO 1020 -*

*1029 TO 1035 1037 1038 1040 1041 1043 TO 1048 1051 TO 1053 1055 1062 1063 -*

*1074 1075 1077 1082 TO 1119 1164 TO 1172 1174 TO 1184 1187 TO 1196 -*

*1198 TO 1218 1220 TO 1243 1245 TO 1269 1273 TO 1276 1280 TO 1286 -*

*1313 TO 1366 1370 TO 1376*

*MEMBER LOAD*

*191 TO 195 199 TO 201 251 379 TO 383 386 TO 389 409 697 698 738 TO 742 745 -*

*746 TO 747 853 854 1176 TO 1184 1187 1200 TO 1209 1222 TO 1234 1247 1264 1275 -*

*1276 1282 1283 1285 1318 TO 1323 1329 TO 1334 1340 TO 1345 1354 1390 TO 1397 -*

*1399 UNI GY -10*

*198 202 221 223 252 254 271 386 390 395 409 411 439 440 442 459 744 748 753 -*

*766 768 796 797 799 816 989 991 1008 1055 1103 1104 1107 1109 1263 -*

*1284 UNI GY -14*

*210 211 222 229 231 TO 235 237 238 240 241 243 TO 250 256 258 260 262 264 -*

*266 268 277 TO 283 292 295 302 391 393 398 399 401 410 412 414 416 -*

*419 TO 423 425 426 428 429 431 TO 438 444 446 448 450 452 457 459 -*

*466 TO 471 480 483 485 486 490 494 699 700 703 704 749 751 755 756 758 767 -*

*769 771 773 776 TO 780 782 783 785 786 788 TO 795 801 803 805 807 809 814 -*

*823 TO 828 837 840 TO 843 845 849 855 856 859 860 1094 1105 1106 1108 1110 -*

*1113 TO 1115 1117 1273 1280 1281 1361 TO 1364 1388 1389 UNI GY -7*

*930 TO 934 937 TO 940 945 958 TO 960 988 989 1045 1046 1248 TO 1257 -*

*1351 TO 1353 1355 1356 1370 TO 1373 1375 UNI GY -3*

*386 TO 389 409 744 TO 747 766 UNI GY -12.75*

*936 TO 939 958 UNI GY -10.5*

*FLOOR LOAD*

*YRANGE 4.9 5.3 FLOAD -5.5 GY*

*YRANGE 8.5 8.9 FLOAD -5.5 GY*

*YRANGE 4.9 5.3 FLOAD -4 XRANGE -0.5 3.6 ZRANGE -0.5 9.5 GY*

*YRANGE 8.5 8.9 FLOAD -4 XRANGE -0.5 3.6 ZRANGE -0.5 9.5 GY*

*YRANGE 4.9 5.3 FLOAD -4 XRANGE 3.2 6.5 ZRANGE 11.5 17 GY*

*YRANGE 8.5 8.9 FLOAD -4 XRANGE 3.2 6.5 ZRANGE 11.5 17 GY*

*YRANGE 4.9 5.3 FLOAD -4 XRANGE 12.2 15.5 ZRANGE 11.5 17 GY*

*YRANGE 8.5 8.9 FLOAD -4 XRANGE 12.2 15.6 ZRANGE 11.5 17 GY*

*YRANGE 4.9 5.3 FLOAD -4 XRANGE 33.1 39.5 ZRANGE 2.5 6.5 GY*

*YRANGE 8.5 8.9 FLOAD -4 XRANGE 33.1 39.5 ZRANGE 2.5 6.5 GY*

*LOAD 4 LOADTYPE Live TITLE LIVE LOAD*

*FLOOR LOAD*

*YRANGE 4.9 5.3 FLOAD -3 GY*

*YRANGE 8.5 8.9 FLOAD -3 GY*

*YRANGE 12.2 12.4 FLOAD -1.5 GY*

*LOAD COMB 5 COMBINATION LOAD CASE 5*

*3 1.5 4 1.5*

*LOAD COMB 6 COMBINATION LOAD CASE 6*

*3 1.5 1 1.5*

*LOAD COMB 7 COMBINATION LOAD CASE 7*

*3 1.5 1 -1.5*

*LOAD COMB 8 COMBINATION LOAD CASE 8*

*3 1.5 2 1.5*

*LOAD COMB 9 COMBINATION LOAD CASE 9*

*3 1.5 2 -1.5*

*LOAD COMB 10 COMBINATION LOAD CASE 10*

*3 0.9 1 1.5*

*LOAD COMB 11 COMBINATION LOAD CASE 11*

*3 0.9 1 -1.5*

*LOAD COMB 12 COMBINATION LOAD CASE 12*

*3 0.9 2 1.5*

*LOAD COMB 13 COMBINATION LOAD CASE 13*

*3 0.9 2 -1.5*

*LOAD COMB 14 COMBINATION LOAD CASE 14*

*3 1.2 4 1.2 1 1.2*

*LOAD COMB 15 COMBINATION LOAD CASE 15*

*3 1.2 4 1.2 1 -1.2*

*LOAD COMB 16 COMBINATION LOAD CASE 16*

*3 1.2 4 1.2 2 1.2*

*LOAD COMB 17 COMBINATION LOAD CASE 17*

*3 1.2 4 1.2 2 -1.2*

*PERFORM ANALYSIS*

*START CONCRETE DESIGN*

*CODE INDIAN*

*FC 20000 MEMB 120 TO 125 127 TO 130 132 133 135 144 146 TO 153 155 -*

*157 TO 164 185 187 189 191 TO 195 198 TO 202 210 211 221 TO 223 229 -*

*231 TO 235 237 238 240 241 243 TO 252 254 256 258 260 262 264 266 268 271 -*

*276 TO 283 292 295 302 308 TO 313 315 TO 318 320 321 323 332 334 TO 341 343 -*

*345 TO 352 373 375 377 379 TO 383 386 TO 395 398 399 401 TO 405 409 TO 426 -*

*428 TO 459 464 TO 471 480 TO 486 490 491 493 494 496 TO 501 503 TO 506 508 -*

*509 511 520 522 TO 529 531 533 TO 540 561 563 565 685 696 TO 700 703 TO 705 -*

*714 TO 716 729 TO 732 738 TO 742 744 TO 753 755 756 758 TO 762 766 TO 783 -*

*785 TO 816 821 TO 828 837 TO 843 845 846 848 849 851 TO 856 859 TO 861 863 -*

*868 TO 873 875 TO 878 880 881 883 887 889 TO 897 899 TO 906 920 921 923 926 -*

*929 TO 934 936 TO 945 947 948 950 TO 954 958 TO 975 977 TO 1008 1013 TO 1020 -*

*1029 TO 1035 1037 1038 1040 1041 1043 TO 1048 1051 TO 1053 1055 1062 1063 -*

*1074 1075 1077 1082 TO 1119 1164 TO 1172 1174 TO 1184 1187 TO 1196 -*

*1198 TO 1218 1220 TO 1243 1245 TO 1269 1273 TO 1276 1280 TO 1286 -*

*1313 TO 1366 1370 TO 1384*

*FYMAIN 500000 MEMB 120 TO 125 127 TO 130 132 133 135 144 146 TO 153 155 157 -*

*158 TO 164 185 187 189 191 TO 195 198 TO 202 210 211 221 TO 223 229 -*

*231 TO 235 237 238 240 241 243 TO 252 254 256 258 260 262 264 266 268 271 -*

*276 TO 283 292 295 302 308 TO 313 315 TO 318 320 321 323 332 334 TO 341 343 -*

*345 TO 352 373 375 377 379 TO 383 386 TO 395 398 399 401 TO 405 409 TO 426 -*

*428 TO 459 464 TO 471 480 TO 486 490 491 493 494 496 TO 501 503 TO 506 508 -*

*509 511 520 522 TO 529 531 533 TO 540 561 563 565 685 696 TO 700 703 TO 705 -*

*714 TO 716 729 TO 732 738 TO 742 744 TO 753 755 756 758 TO 762 766 TO 783 -*

*785 TO 816 821 TO 828 837 TO 843 845 846 848 849 851 TO 856 859 TO 861 863 -*

*868 TO 873 875 TO 878 880 881 883 887 889 TO 897 899 TO 906 920 921 923 926 -*

*929 TO 934 936 TO 945 947 948 950 TO 954 958 TO 975 977 TO 1008 1013 TO 1020 -*

*1029 TO 1035 1037 1038 1040 1041 1043 TO 1048 1051 TO 1053 1055 1062 1063 -*

*1074 1075 1077 1082 TO 1119 1164 TO 1172 1174 TO 1184 1187 TO 1196 -*

*1198 TO 1218 1220 TO 1243 1245 TO 1269 1273 TO 1276 1280 TO 1286 -*

*1313 TO 1366 1370 TO 1384*

*FYSEC 500000 ALL*

*DESIGN BEAM 191 TO 195 198 TO 202 210 211 221 TO 223 229 231 TO 235 237 238 -*

*240 241 243 TO 252 254 256 258 260 262 264 266 268 271 276 TO 283 292 295 -*

*302 379 TO 383 386 TO 395 398 399 401 TO 405 409 TO 426 428 TO 459 -*

*464 TO 471 480 TO 486 490 491 493 494 685 696 TO 700 703 TO 705 732 -*

*738 TO 742 744 TO 753 755 756 758 TO 762 766 TO 783 785 TO 816 821 TO 828 -*

*837 TO 843 845 846 848 849 851 TO 856 859 TO 861 863 930 TO 934 936 TO 945 -*

*947 948 950 TO 954 958 TO 975 977 TO 1008 1013 TO 1020 1029 TO 1035 1037 -*

*1038 1040 1041 1043 TO 1048 1051 TO 1053 1055 1074 1075 1077 1094 -*

*1103 TO 1119 1176 TO 1184 1187 1200 TO 1209 1222 TO 1234 1247 TO 1257 1260 -*

*1261 TO 1265 1273 TO 1276 1280 TO 1286 1318 TO 1323 1329 TO 1334 1340 TO 1345 -*

*1351 TO 1356 1361 TO 1366 1370 TO 1376 1381 TO 1402*

*DESIGN COLUMN 120 TO 125 127 TO 130 132 133 135 144 146 TO 153 155 -*

*157 TO 164 185 187 189 308 TO 313 315 TO 318 320 321 323 332 334 TO 341 343 -*

*345 TO 352 373 375 377 496 TO 501 503 TO 506 508 509 511 520 522 TO 529 531 -*

*533 TO 540 561 563 565 714 TO 716 729 TO 731 868 TO 873 875 TO 878 880 881 -*

*883 887 889 TO 897 899 TO 906 920 921 923 926 929 1062 1063 1082 TO 1093 -*

*1095 TO 1102 1164 TO 1172 1174 1175 1188 TO 1196 1198 1199 1210 TO 1218 1220 -*

*1221 1235 TO 1243 1245 1246 1258 1259 1266 TO 1269 1313 TO 1317 1324 TO 1328 -*

*1335 TO 1339 1346 TO 1350 1357 TO 1360 1377 TO 1380*

*END CONCRETE DESIGN*

*FINISH*