## Slide 1
SIX MONTHS INDUSTRIAL TRAINING
RGNUL, PATIALA
(From 6th JANUARY 2014 to 25th MAY 2014)
BY: GURSIMRANJEET SINGH
UNIVERSITY ROLL NO. 100370101119
Roll No. 100141
PRESENTATION

## Slide 2: COMPANY PROFILE
NANDA CONSTRUCTION COMPANY
Established in: 1992
Entrepreneur: Mr. Sanjeev Kumar Nanda
Motive of Company: To undertake various business contracts and construction.
Location : Patiala
Various projects accomplished by the company are as follows-
Improvement trust showroom Patiala
ITI Lalru
GuruGranthSahhibBhawan (Punjabi University,Patiala)

## Slide 3: OVERVIEW OF PROJECT
ESTIMATED INVESTMENT: 8.5 CRORE
AREA OF GROUND FLOOR: 8000 SQ.FT.
DURATION OF PROJECT: 1 YEAR
PROJECT STARTED: AUGUST 2013
DESIGNED FOR: G+3

## Slide 4: INTRODUCTION TO PROJECT
Name Project: Construction of hostel building (boys and girls )
Owner: RGNUL,PATIALA
Main Contractor: Nanda construction company
Structure: RCC Frame structure
Project Supervision: PWD (B&R)

## Slide 5: SEQUENCE OF WORK
EXCAVATION
FOUNDATION
COLUMN, BEAM & SLAB
SHUTTERING, CURING & BAR BINDING
DE-SHUTTERING

## Slide 6: MATERIAL USED
Cement
Sand
Steel
Bitumen
Aggregates:
1.Fine
2. Coarse
Bricks - used for work are of traditional size 9”*4.5”*3”

## Slide 7: EQUIPMENT USED
Welding set
Concrete mixer
Vibrator
Steel bar cutter

## Slide 8: COLUMN
The size of all the columns at site 9.2”x24”(rectangular columns).
Fe-500
Grade of concrete: M-25(design mix).
Clear cover: 1.5”.
Compaction of concrete was done by electrical vibrator.

## Slide 10: BEAM
Fe-500.
Grade of concrete used: M-25.
Clear cover: 1”.

## Slide 11: SLAB
Fe-500
Grade of concrete used: M-25
Thickness of slab: 120 mm.
Clear cover : 1”
Electric vibrator was used for compaction purpose.

## Slide 12: SHUTTERING
Shuttering is of two types:
Steel shuttering
Wooden shuttering
Steel shuttering at site was
supported by timber props (balli’s).

## Slide 13: CONCRETING
Grade of concrete:
M25
Concrete is lifted at height with the help of lifting machines.

## Slide 14: CURING
Curing is done on slab by two methods :
Sprinkling
Ponding
On columns:
Jute bags
Curing is done for 14 days

## Slide 15: DESHUTTERING
Deshuttering or removal of formwork is done after 10 days for slab.
For columns after 48 hours shuttering is removed

## Slide 16: TEST PERFORMED
COMPRESSION TEST
BRICK TEST
SLUMP TEST

## Slide 17: COMPRESSION TEST

## Slide 18
Compression test is performed to determine the characteristic strength of concrete.
Compressive strength is achieved above 90% after 28 days as per concrete mix design.
It gives overall picture of quality of concrete.

## Slide 19: SLUMP TEST

## Slide 20
Slump test helps to determine the nature of concrete mix.
SLUMP | NATURE OF CONCRETE MIX
NO SLUMP | EXTRA STIFF MIX
FROM 10mm -30mm | POORLY MOBILE MIX
FROM 40mm – 150mm | MOBILE MIX
OVER 150mm | LAST MIX

## Slide 21
Recommended slumps of concrete:
TYPE OF CONCRETE | SLUMP VALUE (mm)
Concrete for road construction | 20 - 40
Concrete for slabs and walls that are horizontal | 40 - 50
Normal RCC work | 80 -150
Mass Concrete | 25 - 50

## Slide 22: BRICK TEST
Absorption
Compressive strength of bricks
Hardness test on bricks
Presence of soluble salts
Shape and size
Soundness test on brick
Structure of a brick

## Slide 23
THANKS